## Slide 1
Numerical based on Solar Cell & Electrical Conductivity
18PYB103J Module-III Lecture-16
DEPARTMENT OF PHYSICS
SRM INSTITUTE OF SCIENCE AND TECHNOLOGY
18PY103J – Physics: Semiconductor Physics
Module-III, Lecture-16

## Slide 2
18PYB103J Module-III Lecture-16
Numerical based on Solar Cell
& Electrical Conductivity
Determine the Open-Circuit Voltage Voc of the solar cell, if Saturation Current (Is) = 1x10-10 A, Light Generated Current(IL) = 0.5 A, Ideality Factor (n) =1, and Temperature (T) = 300 K
Solution:
Open-Circuit Voltage
Solved Numerical:

## Slide 3
18PYB103J Module-III Lecture-16
Determine the Fill Factor FF of the solar cell, if Short-Circuit Current (Isc) = 2.75 A, Open-Circuit Voltage (Voc) = 0.6V, Current at Maximum Power (Im) = 2 A and Voltage at Maximum Power (Vm) = 0.5V
Solution:
Fill Factor
Numerical based on Solar Cell
& Electrical Conductivity

## Slide 4
18PYB103J Module-III Lecture-16
Determine the Conversion Efficiency  of the solar cell, if Short-Circuit Current (Isc) = 3.5A, Open-Circuit Voltage (Voc) = 0.6V, Fill Factor (FF) = 0.7 and Input Power (Pin) = 10W
Solution:
Efficiency
Numerical based on Solar Cell
& Electrical Conductivity

## Slide 5
18PYB103J Module-III Lecture-16
Determine the Conductivity () of the Intrinsic Semiconductor. The given parameters are: μe = 0.145 m2/V-s; μh= 0.055 m2 /V-s; ni= 1.5625×1016/m3 ; q = 1.602×10-19 C.
Solution:
Conductivity
Numerical based on Solar Cell
& Electrical Conductivity

## Slide 6
18PYB103J Module-III Lecture-16
The resistivity of intrinsic germanium at 300 K is 0.47 m. If the electron and hole mobilities are 0.38 m2/V-s and 0.18 m2/V-s, then calculate the Intrinsic carrier density (n) at 300 K.
Solution:
Conductivity
Numerical based on Solar Cell
& Electrical Conductivity

## Slide 7
18PYB103J Module-III Lecture-16
Unsolved Problems:
Determine the Open-Circuit Voltage Voc of the solar cell, if Saturation Current (Is) = 0.75x10-10 A, Light Generated Current(IL) = 0.65 A, Ideality Factor (n) = 0.9, and Temperature (T) = 310K. [Ans: Voc = 0.55V]
Determine the Fill Factor FF of the solar cell, if Short-Circuit Current (Isc) = 2.25 A, Open-Circuit Voltage (Voc) = 0.75V, Current at Maximum Power (Im) = 1.5 A and Voltage at Maximum Power (Vm) = 0.85V. [Ans: FF = 0.7556]
Determine the Conversion Efficiency  of the solar cell, if Short-Circuit Current (Isc) = 2.8A, Open-Circuit Voltage (Voc) = 0.55V, Fill Factor (FF) = 0.8 and Input Power (Pin) = 10W. [Ans:  = 12%]
The following data are given for an intrinsic semiconductor at 27°C; ni = 2.4×1019m–3, μe = 0.39 m2/V-s and μh = 0.19 m2/V-s. Calculate the conductivity of the intrinsic semiconductor. [Ans:  = 2.22 Ω-1m-1]
Numerical based on Solar Cell
& Electrical Conductivity